## Slide 1
SIR New Section D
IPWG November 14, 2017

## Slide 2: Basic Components
Application requirements – New Appendix K
Operating parameters – New Appendix L
New form contract for facilities including storage
Other SIR sections B and C rules apply based on size of the DG

## Slide 3: Application
New hybrid facility
Addition of storage to an existing DG facility
Proposal to change operating parameters after interconnection
New Appendices K and L

## Slide 4: Study Process
Allow screens and methods developed in ITWG and published by DPS
Hybrid projects proceed under B or C
    CESIR for C projects gets 80 business days
Determine study turn around times for other requests
Results to include cost estimates and approved operating parameters – final Appendix L

## Slide 5: Steps after Technical Review
Sign new standard contract with storage provisions
    Incorporate final Appendix L
Pay utility construction costs
Proceed to construction and testing

## Slide 6: Questions?