## Slide 1
Storage in the SIR
IPWG 10/24/2017 Draft Framework

## Slide 2
Overview of Proposed Amendments
Section A, Introduction
New Section D: rules for storage
Process Elements: application requirements, etc.
Changes to Definitions
Changes to the Standard IA

## Slide 3: Section A
Clarify that scope of the SIR includes storage
IPWG input

## Slide 4: New Section D
SIR sections B and C cover DG applications
Section D would provide additional rules for:
    New DG plus storage systems
    Adding storage to a DG system
    Changes in operating mode for an existing DG plus storage system
    Stand alone storage systems
    Subject to 5 MW nameplate limit
IPWG comment sought

## Slide 5: Topics for New Rules
Application requirements:
    Technical information
    Planned operating parameters
Scope/goals/sequence of studies
Applicability of ITWG guidance documents
Study deadlines
Specifics to be developed in ITWG

## Slide 6: Definitions
    No specific proposals related to storage at this time

## Slide 7: Changes to the Standard IA
Adopt owner/operator model
Operate only within approved parameters
Utility right to respond to problems, including right to disconnect
IPWG input sought