## Slide 1: DG Ready Substation Pilot
Identification of Substations for DG Ready Pilot –
  Utilities will identify X number of substations to enroll in the DG Ready Pilot based on a number of factors –
    Substations with high DG interest
    Number of committed projects and/or amount of committed capacity in the interconnection queue
      Commitment demonstrated by site control (such as customer sited projects or lease agreements), signed PPA, public entity with state policy goals etc.
    Outreach to towns and municipalities
    End of a moratorium
    Developers’ expressed interest
    Benefits to the utility system
      Load Forecasts
        New development/new businesses in the area
        Afternoon peak on network
      Projects with smart inverters to delivery ancillary services
    Feeders with available capacity

## Slide 2
Solicitation for DG Projects –
  DPS Selected third party administrator in consultation with utilities
    issue solicitations for committed projects at each identified substation
    select bids for individual projects
  IPWG and ITWG will develop the project selection criteria to establish commitment.
    Factors to be considered may include –
      Site control (customer sited, lease agreement etc.)
      PPA, Project financing
      Letter of credit
      X % of the selected portfolio of projects to be represented by customer-sited projects
Utilities in consultation with IPWG will determine modifications to the SIR for the portfolio of selected projects on expedited basis.
Developers for the portfolio of projects bear the cost associated with their project’s pro rata share of the increased interconnection capacity.

## Slide 3
Costs for unassigned/excess interconnection capacity –
  Alternative One – The portfolio of projects bear the costs associated with excess/unassigned capacity subject to recovery under –
    Current cost sharing mechanism for subsequent projects
    Modified cost sharing mechanism where subsequent projects will pay a small % more than their prorated cost share.
Substation Upgrade Cost | $300,000
Total Interconnection Capacity Created by the Upgrade | 20 MW
Identified Committed Projects in the Portfolio | 4 (assumed to be at 2 MW each)
Total Upgraded Interconnection Capacity Assigned to the Portfolio | 8 MW
Cost Borne by the Portfolio | $300,000 ($120,000 for assigned capacity + $180,000 for unassigned capacity)
Costs Borne by Each Project | $75,000
Each Project will be Entitled to Cost Recovery from Subsequent Projects up to | $45,000
Benefits –
Removal of “first mover” exposure to the entire substation upgrade costs and decreases the amount of uncertainty associated with deployment of subsequent projects.
Cost sharing mechanism can be modified where subsequent projects will pay a small % more than their prorated cost share to incent the projects joining the portfolio.

## Slide 4
  Alternative Two – NYSERDA’s CEF bears the costs associated with excess/unassigned capacity subject to recovery under –
    Each subsequent project would pay NYSERDA its pro rated share of the increased interconnection capacity.
Substation Upgrade Cost | $300,000
Total Interconnection Capacity Created by the Upgrade | 20 MW
Identified Committed Projects in the Portfolio | 4 (assumed to be at 2 MW each)
Total Upgraded Interconnection Capacity assigned to the portfolio | 8 MW
Cost Associated with the Upgraded Capacity Assigned to and Borne by the Portfolio | $120,000
Costs Borne by Each Project | $30,000
Cost Associated with Unassigned Upgrade Capacity Borne by NYSERDA | $180,000
Costs Subject to Cost Sharing by Subsequent Projects | $180,000
NYSERDA will be Entitled to Cost Recovery from Subsequent Projects up to | $180,000
Benefits –
Removal of “first mover” exposure to the entire substation upgrade costs and uncertainty associated with deployment of subsequent projects.
Cost Recovery may enable CEF to create a revolving mechanism to enable deeper DER penetration.

## Slide 5
  Alternative Three - Utilities carry the costs associated with excess/unassigned capacity and recover such costs subject to –
    Each subsequent project would pay the utility its pro rated share of the increased interconnection capacity.
    At the end of X-year period utilities recover any remaining costs from the projects utilizing interconnection capacity created by such upgrade.
Substation Upgrade Cost | $300,000
Total Interconnection Capacity Created by the Upgrade | 20 MW
Identified Committed Projects in the Portfolio | 4 (assumed to be at 2 MW each)
Total Upgraded Interconnection Capacity assigned to the portfolio | 8 MW
Cost Associated with the Upgraded Capacity Assigned to and Borne by the Portfolio | $120,000
Costs Initially Borne by Each Project | $30,000
Utility to Carry Costs Associated with Unassigned Upgrade Capacity for a define number of years | $180,000
Costs Subject to Cost Sharing by Subsequent Projects | $180,000
Utilities will be Entitled to Cost Recovery from Subsequent Projects up to | $180,000
Maximum Liability for Each Project for Unassigned Upgrade Capacity at the End of the Defined Period | $75,000
Benefits -
Removal of “first mover” exposure to the entire substation upgrade costs and decreases the amount of uncertainty associated with deployment of subsequent projects.
Deferral of debt may incent projects with shorter payback period.

## Slide 6: DG Ready Substation Pilot
Next steps –
  IPWG subgroup to develop project selection criteria
  IPWG proposal or subgroup proposal to the Commission?
  Timeline