## Slide 1: Interconnection Coordination Issues Between NYISO and NYS SIR Processes
IPWG Meeting
February 15, 2017

## Slide 2: Process Coordination Issues
NYISO Queue and NYS SIR Queue are segregated
  Projects looking to interconnect to the same PCC within both processes
  No transparency to Developers, Regulators, NYISO and Utilities on order of interconnection queue
  No consistent rules on what queue projects are considered in the base case for each study process (NYISO and NY SIR)
  No current process on how projects from one queue should be integrated into the other queue to assess impact and avoid discrimination

## Slide 3: Process Coordination Issues
Interconnection Processes are significantly different
  NYISO process dictated by NYISO tariff and minimum interconnection standard allowing other projects to be turned off to make the studied project deliverable
  NYISO process does not have a required project decision timeline
  NY SIR process dictated by the SIR. SIR interconnection studies require upgrades to make projects fully deliverable. Projects in the NYISO process only need to be deliverable if participating in the capacity market.
  NY SIR process has very specific required project decision timelines
  This likely will result in projects in the NY SIR process leapfrogging projects in the NYISO process

## Slide 4: Process Coordination Issues
System Upgrades
  NY SIR process has a new mandatory cost sharing requirement for developers for substation upgrades
  NYISO has no cost sharing provision for these upgrades
  Different treatment of these upgrades will result in free riders in either the NYISO process or NY SIR process depending which project is the first mover

## Slide 5: Operational Coordination Issues
Operational Coordination
  Longer term there likely will be issues regarding the need to curtail these resources to maintain local system reliability or possibly bulk system reliability
  No clear process for NYISO or Interconnecting Utility as to which resource is curtailed first
  No clear process as to whether there would or needs to be any compensation to the resource for any curtailment