## Slide 1
Defining a Material Change
IPWG March 28, 2018

## Slide 2: Material Changes
SIR already govern: “any modifications affecting the interface at the PCC to existing DG facilities … that have been interconnected to the utility distribution system(.)”
Study process already allows for some changes; for example, after the preliminary analysis
What changes require a new application/loss of queue position?

## Slide 3: Tasks for the Group
Scope universe of changes that do not “affect the interface at the PCC”
    Clarify that a material change requires a new application
    But preserve existing flexibility
List non-material changes in the SIR or will JU have to make application-specific determinations?
Define how JU will integrate a non-material change into an ongoing application review