## Slide 1: Customer Sited Interconnection Cost Challenges
Current cost sharing mechanism does not provide adequate relief to customer sited projects –
  “First mover” still burdened with entire interconnection upgrade cost
  Both developers and customers have limited appetite for uncertainty related to the development of future projects
Additional Challenges faced by customer sited projects include -
  Difficulty for one developer to bundle a large amount of customer sited projects
  Limitations on subdividing land for multiple projects

## Slide 2: DG Ready Substation Concept
Identify substations with ascertainable DER interest where DER deployment will need upgrades to shared infrastructure.
Open season to solicit committed projects at each of these high interest substations
  Criteria to determine committed projects
Committed projects form a portfolio with a defined percentage of the upgrade capacity and bear the cost associated with it.
  Consider modified cost sharing mechanism for DER installed after portfolio
Limits unassigned/excess capacity
Benefits –
    Removal of “first mover” exposure to interconnection costs
    Expedite deployment of DER projects at networks with heightened DER interest.

## Slide 3: Ad Hoc Review 1 - MW PV System
Over 20 small DG project interconnection applications in the queue at the substation
Under the DG Ready Concept–
Solicit committed projects to form a portfolio that will bear interconnection costs associated with a defined percentage of the interconnection capacity.
Substation Upgrades | $580,000
Other Costs | $42,000