## AGCC Annual
Annual Avoided Generation Capacity Costs (AGCC) due to 1 kW reduction in Peak Load*
All Prices in 2025 Dollars
Year | AGCC at Transmission Level |  |  |  | AGCC at Distribution Level** |  |  |  | Generator ICAP Prices by Region
| NYC | LHV | LI | ROS | NYC | LHV | LI | ROS | NYC | LHV | LI | ROS
2025 | 106.8259 | 44.4725 | 48.4914 | 44.4725 | 115.1142 | 47.9229 | 52.2537 | 47.9229 | 107.469 | 33.8819 | 37.4199 | 33.8819
2026 | 103.5494 | 30.356 | 30.356 | 30.356 | 111.5835 | 32.7112 | 32.7112 | 32.7112 | 115.0507 | 22.6648 | 22.6648 | 22.6648
2027 | 67.4717 | 13.2058 | 13.2058 | 13.2058 | 72.7066 | 14.2304 | 14.2304 | 14.2304 | 75.6143 | 9.7632 | 9.7632 | 9.7632
2028 | 48.2733 | 0.27214 | 0.27214 | 0.27214 | 52.0187 | 0.29325 | 0.29325 | 0.29325 | 56.7001 | 0.19539 | 0.19539 | 0.19539
2029 | 49.1032 | 0.16716 | 0.16716 | 0.16716 | 52.9129 | 0.18013 | 0.18013 | 0.18013 | 57.8291 | 0.12 | 0.12 | 0.12
2030 | 68.9015 | 7.9384 | 9.049 | 7.9384 | 74.2473 | 8.5544 | 9.7511 | 8.5544 | 76.843 | 5.7539 | 6.6473 | 5.7539
2031 | 97.6303 | 19.4161 | 19.9774 | 19.4161 | 105.2051 | 20.9226 | 21.5273 | 20.9226 | 109.636 | 14.2561 | 14.7171 | 14.2561
2032 | 108.4343 | 27.543 | 27.8857 | 27.543 | 116.8473 | 29.68 | 30.0492 | 29.68 | 119.6815 | 20.4228 | 20.7074 | 20.4228
2033 | 117.3105 | 35.8141 | 35.945 | 35.8141 | 126.4121 | 38.5928 | 38.7338 | 38.5928 | 127.3843 | 26.8319 | 26.9419 | 26.8319
2034 | 127.1542 | 42.6305 | 42.6305 | 42.6305 | 137.0196 | 45.938 | 45.938 | 45.938 | 137.1492 | 32.2209 | 32.2209 | 32.2209
2035 | 133.4747 | 49.437 | 49.7775 | 49.437 | 143.8305 | 53.2726 | 53.6395 | 53.2726 | 142.4682 | 37.7047 | 37.9974 | 37.7047
2036 | 135.5533 | 55.6286 | 56.074 | 55.6286 | 146.0704 | 59.9446 | 60.4245 | 59.9446 | 142.5894 | 42.7873 | 43.1743 | 42.7873
2037 | 137.3894 | 61.3153 | 61.747 | 61.3153 | 148.049 | 66.0725 | 66.5378 | 66.0725 | 142.6955 | 47.5388 | 47.9177 | 47.5388
2038 | 139.0971 | 66.8008 | 67.028 | 66.8008 | 149.8891 | 71.9836 | 72.2284 | 71.9836 | 142.8001 | 52.2021 | 52.4032 | 52.2021
2039 | 140.5492 | 71.6528 | 71.6697 | 71.6528 | 151.4538 | 77.2121 | 77.2302 | 77.2121 | 142.8905 | 56.3955 | 56.4105 | 56.3955
2040 | 141.9827 | 75.9557 | 75.9557 | 75.9557 | 152.9986 | 81.8488 | 81.8488 | 81.8488 | 142.9672 | 60.3 | 60.3 | 60.3
2041 | 142.0585 | 75.9557 | 75.9557 | 75.9557 | 153.0802 | 81.8488 | 81.8488 | 81.8488 | 143.0556 | 60.3 | 60.3 | 60.3
2042 | 142.112 | 75.9557 | 75.9557 | 75.9557 | 153.1379 | 81.8488 | 81.8488 | 81.8488 | 143.1182 | 60.3 | 60.3 | 60.3
2043 | 142.1757 | 75.9557 | 76.8042 | 75.9557 | 153.2065 | 81.8488 | 82.7632 | 81.8488 | 143.1926 | 60.3 | 61.0772 | 60.3
2044 | 142.2387 | 75.9557 | 78.3668 | 75.9557 | 153.2744 | 81.8488 | 84.4469 | 81.8488 | 143.2662 | 60.3 | 62.5222 | 60.3
2045 | 142.2907 | 75.9557 | 79.85 | 75.9557 | 153.3305 | 81.8488 | 86.0453 | 81.8488 | 143.327 | 60.3 | 63.911 | 60.3
*Based on 2025 Gold Book
**AGCC at Distribution Level = AGCC at Transmission Level / (1-Distribution Losses)
| Assumed Distribution Losses: |  |  | 7.2%
NYC = New York City (Load Zone J)
LHV = Lower Hudson Valley (Load Zones GHI)
LI = Long Island (Load Zone K)
ROS = Rest of State (Upstate Load Zones A-F)
NYCA=NY Control Area (Statewide)
2025 ICAP Demand Curve Reference Prices:
| NYC | LHV | LI | NYCA (ROS)
| 17.37 | 6.15 | 6.8 | 5.72
2025 Minimum Locational ICAP Requirements (LCRs):
| NYC | LHV | LI | NYCA (IRM)
| 78.5% | 78.8% | 106.5% | 124.4%

## AGCC Summer
Summer Month Avoided Generation Capacity Costs (AGCC) due to 1 kW reduction in Peak Load*
All Prices in 2025 Dollars
Year | Avoided GCC at Transmission Level |  |  |  | Avoided GCC at Distribution Level |  |  |  | Generator ICAP Prices by Region |  |  |  | Capacity Obligation at Forecasted Price
| NYC | LHV | LI | ROS | NYC | LHV | LI | ROS | NYC | LHV | LI | ROS | NYC | LHV | LI | NYCA
2025 | 11.3534 | 4.7917 | 5.4616 | 4.7917 | 12.2343 | 5.1635 | 5.8853 | 5.1635 | 11.5807 | 3.6949 | 4.2846 | 3.6949 | 0.83209 | 0.83519 | 1.1359 | 1.2969
2026 | 14.8425 | 3.2803 | 3.2803 | 3.2803 | 15.9941 | 3.5348 | 3.5348 | 3.5348 | 17.1665 | 2.4685 | 2.4685 | 2.4685 | 0.78666 | 0.85876 | 1.1871 | 1.3289
2027 | 11.1962 | 2.1519 | 2.1519 | 2.1519 | 12.0649 | 2.3188 | 2.3188 | 2.3188 | 12.5671 | 1.5919 | 1.5919 | 1.5919 | 0.82407 | 0.8756 | 1.2118 | 1.3517
2028 | 8.0316 | 0.031426 | 0.031426 | 0.031426 | 8.6548 | 0.033864 | 0.033864 | 0.033864 | 9.44 | 0.022565 | 0.022565 | 0.022565 | 0.84951 | 0.90577 | 1.2561 | 1.3927
2029 | 8.1699 | 0.01393 | 0.01393 | 0.01393 | 8.8038 | 0.015011 | 0.015011 | 0.015011 | 9.6282 | 0.01 | 0.01 | 0.01 | 0.84798 | 0.90601 | 1.2564 | 1.393
2030 | 8.4902 | 0.46766 | 0.65275 | 0.46766 | 9.149 | 0.50395 | 0.7034 | 0.50395 | 9.8157 | 0.33779 | 0.4867 | 0.33779 | 0.84645 | 0.89971 | 1.243 | 1.3845
2031 | 12.6414 | 1.78 | 1.8735 | 1.78 | 13.6222 | 1.9181 | 2.0189 | 1.9181 | 14.7848 | 1.3097 | 1.3865 | 1.3097 | 0.80603 | 0.88103 | 1.2176 | 1.3591
2032 | 13.4503 | 2.4524 | 2.5095 | 2.4524 | 14.4938 | 2.6427 | 2.7042 | 2.6427 | 15.5768 | 1.8224 | 1.8698 | 1.8224 | 0.79959 | 0.87117 | 1.204 | 1.3457
2033 | 14.1258 | 3.1367 | 3.1585 | 3.1367 | 15.2218 | 3.3801 | 3.4036 | 3.3801 | 16.1841 | 2.3552 | 2.3736 | 2.3552 | 0.79465 | 0.86093 | 1.1898 | 1.3318
2034 | 14.8568 | 3.7007 | 3.7007 | 3.7007 | 16.0095 | 3.9878 | 3.9878 | 3.9878 | 16.9539 | 2.8033 | 2.8033 | 2.8033 | 0.78838 | 0.85232 | 1.1777 | 1.3201
2035 | 15.3412 | 4.2651 | 4.3218 | 4.2651 | 16.5315 | 4.596 | 4.6572 | 4.596 | 17.37 | 3.2603 | 3.3091 | 3.2603 | 0.785 | 0.84354 | 1.1634 | 1.3082
2036 | 15.523 | 4.7811 | 4.8553 | 4.7811 | 16.7274 | 5.152 | 5.232 | 5.152 | 17.37 | 3.686 | 3.7505 | 3.686 | 0.785 | 0.83536 | 1.151 | 1.2971
2037 | 15.6843 | 5.2547 | 5.3266 | 5.2547 | 16.9012 | 5.6624 | 5.7399 | 5.6624 | 17.37 | 4.0838 | 4.147 | 4.0838 | 0.785 | 0.82771 | 1.1398 | 1.2867
2038 | 15.8346 | 5.7114 | 5.7493 | 5.7114 | 17.0631 | 6.1546 | 6.1954 | 6.1546 | 17.37 | 4.4743 | 4.5078 | 4.4743 | 0.785 | 0.82021 | 1.1296 | 1.2765
2039 | 15.9629 | 6.1153 | 6.1181 | 6.1153 | 17.2014 | 6.5897 | 6.5927 | 6.5897 | 17.37 | 4.8252 | 4.8277 | 4.8252 | 0.785 | 0.81346 | 1.1206 | 1.2674
2040 | 16.2609 | 7.1157 | 7.1157 | 7.1157 | 17.5226 | 7.6678 | 7.6678 | 7.6678 | 17.37 | 5.72 | 5.72 | 5.72 | 0.785 | 0.79626 | 1.0954 | 1.244
2041 | 16.2609 | 7.1157 | 7.1157 | 7.1157 | 17.5226 | 7.6678 | 7.6678 | 7.6678 | 17.37 | 5.72 | 5.72 | 5.72 | 0.785 | 0.79626 | 1.0954 | 1.244
2042 | 16.2609 | 7.1157 | 7.1157 | 7.1157 | 17.5226 | 7.6678 | 7.6678 | 7.6678 | 17.37 | 5.72 | 5.72 | 5.72 | 0.785 | 0.79626 | 1.0954 | 1.244
2043 | 16.2609 | 7.1157 | 7.2571 | 7.1157 | 17.5226 | 7.6678 | 7.8202 | 7.6678 | 17.37 | 5.72 | 5.8495 | 5.72 | 0.785 | 0.79626 | 1.0918 | 1.244
2044 | 16.2609 | 7.1157 | 7.5175 | 7.1157 | 17.5226 | 7.6678 | 8.1008 | 7.6678 | 17.37 | 5.72 | 6.0904 | 5.72 | 0.785 | 0.79626 | 1.085 | 1.244
2045 | 16.2609 | 7.1157 | 7.7647 | 7.1157 | 17.5226 | 7.6678 | 8.3672 | 7.6678 | 17.37 | 5.72 | 6.3218 | 5.72 | 0.785 | 0.79626 | 1.0785 | 1.244
*Based on 2025 Gold Book
**AGCC at Distribution Level = AGCC at Transmission Level / (1-Distribution Losses)
| Assumed Distribution Losses: |  |  | 7.2%
NYC = New York City Load Zone J)
LHV = Lower Hudson Valley (Load Zones GHI)
LI = Long Island (Load Zone K)
ROS = Rest of State (Upstate Load Zones A-F)
NYCA=NY Control Area (Statewide)
2025 ICAP Demand Curve Reference Prices:
| NYC | LHV | LI | NYCA (ROS)
| 17.37 | 6.15 | 6.8 | 5.72
2025 Minimum Locational ICAP Requirements (LCRs):
| NYC | LHV | LI | NYCA (IRM)
| 78.5% | 78.8% | 106.5% | 124.4%

## AGCC Winter
Winter Month Avoided Generation Capacity Costs (AGCC) due to 1 kW reduction in Peak Load*
All Prices in 2025 Dollars
Year | Avoided GCC at Transmission Level |  |  |  | Avoided GCC at Distribution Level |  |  |  | Generator ICAP Prices by Region |  |  |  | Capacity Obligation at Forecasted Price
| NYC | LHV | LI | ROS | NYC | LHV | LI | ROS | NYC | LHV | LI | ROS | NYC | LHV | LI | NYCA
2025 | 6.4509 | 2.6203 | 2.6203 | 2.6203 | 6.9514 | 2.8236 | 2.8236 | 2.8236 | 6.3308 | 1.9521 | 1.9521 | 1.9521 | 0.8748 | 0.86868 | 1.2017 | 1.3423
2026 | 2.4157 | 1.779 | 1.779 | 1.779 | 2.6031 | 1.9171 | 1.9171 | 1.9171 | 2.0086 | 1.309 | 1.309 | 1.309 | 0.90996 | 0.88104 | 1.2198 | 1.3591
2027 | 0.049092 | 0.049092 | 0.049092 | 0.049092 | 0.052901 | 0.052901 | 0.052901 | 0.052901 | 0.035258 | 0.035258 | 0.035258 | 0.035258 | 0.92601 | 0.90552 | 1.2557 | 1.3924
2028 | 0.01393 | 0.01393 | 0.01393 | 0.01393 | 0.015011 | 0.015011 | 0.015011 | 0.015011 | 0.01 | 0.01 | 0.01 | 0.01 | 0.92622 | 0.90601 | 1.2564 | 1.393
2029 | 0.01393 | 0.01393 | 0.01393 | 0.01393 | 0.015011 | 0.015011 | 0.015011 | 0.015011 | 0.01 | 0.01 | 0.01 | 0.01 | 0.92622 | 0.90601 | 1.2564 | 1.393
2030 | 2.9934 | 0.85541 | 0.85541 | 0.85541 | 3.2256 | 0.92178 | 0.92178 | 0.92178 | 2.9915 | 0.62118 | 0.62118 | 0.62118 | 0.90196 | 0.89426 | 1.2392 | 1.3771
2031 | 3.6303 | 1.456 | 1.456 | 1.456 | 3.912 | 1.569 | 1.569 | 1.569 | 3.4878 | 1.0663 | 1.0663 | 1.0663 | 0.89793 | 0.88571 | 1.2266 | 1.3655
2032 | 4.6221 | 2.1381 | 2.1381 | 2.1381 | 4.9807 | 2.304 | 2.304 | 2.304 | 4.3701 | 1.5814 | 1.5814 | 1.5814 | 0.89075 | 0.87581 | 1.2121 | 1.352
2033 | 5.426 | 2.8323 | 2.8323 | 2.8323 | 5.8469 | 3.052 | 3.052 | 3.052 | 5.0466 | 2.1168 | 2.1168 | 2.1168 | 0.88525 | 0.86552 | 1.197 | 1.338
2034 | 6.3355 | 3.4044 | 3.4044 | 3.4044 | 6.8271 | 3.6686 | 3.6686 | 3.6686 | 5.9042 | 2.5669 | 2.5669 | 2.5669 | 0.87827 | 0.85687 | 1.1843 | 1.3263
2035 | 6.9046 | 3.9744 | 3.9744 | 3.9744 | 7.4403 | 4.2828 | 4.2828 | 4.2828 | 6.3747 | 3.0238 | 3.0238 | 3.0238 | 0.87444 | 0.84808 | 1.1715 | 1.3144
2036 | 7.0692 | 4.4903 | 4.4903 | 4.4903 | 7.6177 | 4.8387 | 4.8387 | 4.8387 | 6.3949 | 3.4452 | 3.4452 | 3.4452 | 0.87428 | 0.83999 | 1.1596 | 1.3034
2037 | 7.2139 | 4.9645 | 4.9645 | 4.9645 | 7.7736 | 5.3497 | 5.3497 | 5.3497 | 6.4126 | 3.8393 | 3.8393 | 3.8393 | 0.87414 | 0.83241 | 1.1485 | 1.2931
2038 | 7.3482 | 5.422 | 5.422 | 5.422 | 7.9184 | 5.8427 | 5.8427 | 5.8427 | 6.43 | 4.2261 | 4.2261 | 4.2261 | 0.87399 | 0.82498 | 1.1376 | 1.283
2039 | 7.462 | 5.8269 | 5.8269 | 5.8269 | 8.0409 | 6.279 | 6.279 | 6.279 | 6.4451 | 4.574 | 4.574 | 4.574 | 0.87387 | 0.81829 | 1.1278 | 1.2739
2040 | 7.4029 | 5.5436 | 5.5436 | 5.5436 | 7.9772 | 5.9737 | 5.9737 | 5.9737 | 6.4579 | 4.33 | 4.33 | 4.33 | 0.87377 | 0.82298 | 1.1346 | 1.2803
2041 | 7.4155 | 5.5436 | 5.5436 | 5.5436 | 7.9908 | 5.9737 | 5.9737 | 5.9737 | 6.4726 | 4.33 | 4.33 | 4.33 | 0.87365 | 0.82298 | 1.1346 | 1.2803
2042 | 7.4244 | 5.5436 | 5.5436 | 5.5436 | 8.0004 | 5.9737 | 5.9737 | 5.9737 | 6.483 | 4.33 | 4.33 | 4.33 | 0.87356 | 0.82298 | 1.1346 | 1.2803
2043 | 7.435 | 5.5436 | 5.5436 | 5.5436 | 8.0119 | 5.9737 | 5.9737 | 5.9737 | 6.4954 | 4.33 | 4.33 | 4.33 | 0.87346 | 0.82298 | 1.1346 | 1.2803
2044 | 7.4455 | 5.5436 | 5.5436 | 5.5436 | 8.0232 | 5.9737 | 5.9737 | 5.9737 | 6.5077 | 4.33 | 4.33 | 4.33 | 0.87336 | 0.82298 | 1.1346 | 1.2803
2045 | 7.4542 | 5.5436 | 5.5436 | 5.5436 | 8.0325 | 5.9737 | 5.9737 | 5.9737 | 6.5178 | 4.33 | 4.33 | 4.33 | 0.87328 | 0.82298 | 1.1346 | 1.2803
*Based on 2025 Gold Book
**AGCC at Distribution Level = AGCC at Transmission Level / (1-Distribution Losses)
| Assumed Distribution Losses: |  |  | 7.2%
NYC = New York City Load Zone J)
LHV = Lower Hudson Valley (Load Zones GHI)
LI = Long Island (Load Zone K)
ROS = Rest of State (Upstate Load Zones A-F)
NYCA=NY Control Area (Statewide)
2025 ICAP Demand Curve Reference Prices:
| NYC | LHV | LI | NYCA (ROS)
| 17.37 | 6.15 | 6.8 | 5.72
2025 Minimum Locational ICAP Requirements (LCRs):
| NYC | LHV | LI | NYCA (IRM)
| 78.5% | 78.8% | 106.5% | 124.4%

## ICAP Prices
ICAP Monthly Price Forecasts, based on 2025 Gold Book
(All Prices in 2025 Dollars)
| NYC (J) |  |  | LHV (G-J) |  |  | LI (K) |  |  | ROS (NYCA)
| Average | Summer | Winter | Average | Summer | Winter | Average | Summer | Winter | Average | Summer | Winter
Net CONE | 16.005 | 17.37 | 14.64 | 5.72 | 6.15 | 5.29 | 7.79 | 6.8 | 8.78 | 5.025 | 5.72 | 4.33
2025 | 8.9558 | 11.5807 | 6.3308 | 2.8235 | 3.6949 | 1.9521 | 3.1183 | 4.2846 | 1.9521 | 2.8235 | 3.6949 | 1.9521
2026 | 9.5876 | 17.1665 | 2.0086 | 1.8887 | 2.4685 | 1.309 | 1.8887 | 2.4685 | 1.309 | 1.8887 | 2.4685 | 1.309
2027 | 6.3012 | 12.5671 | 0.035258 | 0.8136 | 1.5919 | 0.035258 | 0.8136 | 1.5919 | 0.035258 | 0.8136 | 1.5919 | 0.035258
2028 | 4.725 | 9.44 | 0.01 | 0.016282 | 0.022565 | 0.01 | 0.016282 | 0.022565 | 0.01 | 0.016282 | 0.022565 | 0.01
2029 | 4.8191 | 9.6282 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
2030 | 6.4036 | 9.8157 | 2.9915 | 0.47949 | 0.33779 | 0.62118 | 0.55394 | 0.4867 | 0.62118 | 0.47949 | 0.33779 | 0.62118
2031 | 9.1363 | 14.7848 | 3.4878 | 1.188 | 1.3097 | 1.0663 | 1.2264 | 1.3865 | 1.0663 | 1.188 | 1.3097 | 1.0663
2032 | 9.9735 | 15.5768 | 4.3701 | 1.7019 | 1.8224 | 1.5814 | 1.7256 | 1.8698 | 1.5814 | 1.7019 | 1.8224 | 1.5814
2033 | 10.6154 | 16.1841 | 5.0466 | 2.236 | 2.3552 | 2.1168 | 2.2452 | 2.3736 | 2.1168 | 2.236 | 2.3552 | 2.1168
2034 | 11.4291 | 16.9539 | 5.9042 | 2.6851 | 2.8033 | 2.5669 | 2.6851 | 2.8033 | 2.5669 | 2.6851 | 2.8033 | 2.5669
2035 | 11.8724 | 17.37 | 6.3747 | 3.1421 | 3.2603 | 3.0238 | 3.1664 | 3.3091 | 3.0238 | 3.1421 | 3.2603 | 3.0238
2036 | 11.8824 | 17.37 | 6.3949 | 3.5656 | 3.686 | 3.4452 | 3.5979 | 3.7505 | 3.4452 | 3.5656 | 3.686 | 3.4452
2037 | 11.8913 | 17.37 | 6.4126 | 3.9616 | 4.0838 | 3.8393 | 3.9931 | 4.147 | 3.8393 | 3.9616 | 4.0838 | 3.8393
2038 | 11.9 | 17.37 | 6.43 | 4.3502 | 4.4743 | 4.2261 | 4.3669 | 4.5078 | 4.2261 | 4.3502 | 4.4743 | 4.2261
2039 | 11.9075 | 17.37 | 6.4451 | 4.6996 | 4.8252 | 4.574 | 4.7009 | 4.8277 | 4.574 | 4.6996 | 4.8252 | 4.574
2040 | 11.9139 | 17.37 | 6.4579 | 5.025 | 5.72 | 4.33 | 5.025 | 5.72 | 4.33 | 5.025 | 5.72 | 4.33
2041 | 11.9213 | 17.37 | 6.4726 | 5.025 | 5.72 | 4.33 | 5.025 | 5.72 | 4.33 | 5.025 | 5.72 | 4.33 | Forecasted Capacity Changes
2042 | 11.9265 | 17.37 | 6.483 | 5.025 | 5.72 | 4.33 | 5.025 | 5.72 | 4.33 | 5.025 | 5.72 | 4.33 |  | Year | ICAP | ICAP | Type | Zone
2043 | 11.9327 | 17.37 | 6.4954 | 5.025 | 5.72 | 4.33 | 5.0898 | 5.8495 | 4.33 | 5.025 | 5.72 | 4.33 |  |  | S | W
2044 | 11.9389 | 17.37 | 6.5077 | 5.025 | 5.72 | 4.33 | 5.2102 | 6.0904 | 4.33 | 5.025 | 5.72 | 4.33 | START OF TABLE
2045 | 11.9439 | 17.37 | 6.5178 | 5.025 | 5.72 | 4.33 | 5.3259 | 6.3218 | 4.33 | 5.025 | 5.72 | 4.33 | Somerset | 2020 | -676.4 | -684.4 |  | ROS
[13 empty] | Albany LFGE | 2020 | -5.6 | -5.6 |  | ROS
Annual Capacity Prices ($/kW-year, 2025 $) | [12 empty] | IP 2 | 2020 | -1011.5 | -1029.4 |  | GHI
| NYC |  |  | Lower Hudson Valley |  |  | Long Island |  |  | Rest-of-State |  |  | IP 3 | 2021 | -1036.3 | -1038.3 |  | GHI
2025 | 107.469 |  |  | 33.8819 |  |  | 37.4199 |  |  | 33.8819 |  |  | Gowanus 1-8 | 2021 | -16 | -21 |  | J
2026 | 115.0507 |  |  | 22.6648 |  |  | 22.6648 |  |  | 22.6648 |  |  | Cassadaga Wind | 2021 | 21.3026 | 21.3026 | W | ROS
2027 | 75.6143 |  |  | 9.7632 |  |  | 9.7632 |  |  | 9.7632 |  |  | Roaring Brook Wind | 2021 | 13.4215 | 13.4215 | W | ROS
2028 | 56.7001 |  |  | 0.19539 |  |  | 0.19539 |  |  | 0.19539 |  |  | West Babylon 4 | 2022 | -41.2 | -63.4 |  | K
2029 | 57.8291 |  |  | 0.12 |  |  | 0.12 |  |  | 0.12 |  |  | Glenwood GT 01 | 2022 | -13 | -15.3 |  | K
2030 | 76.843 |  |  | 5.7539 |  |  | 6.6473 |  |  | 5.7539 |  |  | Allegheny Cogen | 2022 | -62 | -62.7 |  | ROS
2031 | 109.636 |  |  | 14.2561 |  |  | 14.7171 |  |  | 14.2561 |  |  | Sithe Batavia | 2022 | -48.7 | -59 |  | ROS
2032 | 119.6815 |  |  | 20.4228 |  |  | 20.7074 |  |  | 20.4228 |  |  | Sithe Sterling | 2022 | -49.2 | -61.9 |  | ROS
2033 | 127.3843 |  |  | 26.8319 |  |  | 26.9419 |  |  | 26.8319 |  |  | Nassau Energy Corporation | 2022 | -38.5 | -51 |  | K
2034 | 137.1492 |  |  | 32.2209 |  |  | 32.2209 |  |  | 32.2209 |  |  | Gowanus 1-1 through 1-7; 4-1 through 4-8 | 2022 |  | -344.6 |  | J
2035 | 142.4682 |  |  | 37.7047 |  |  | 37.9974 |  |  | 37.7047 |  |  | North Country Energy Storage | 2022 | 15.782 | 15.782 | ES | ROS
2036 | 142.5894 |  |  | 42.7873 |  |  | 43.1743 |  |  | 42.7873 |  |  | Janis Solar | 2022 | 2.448 | 2.448 | S | ROS
2037 | 142.6955 |  |  | 47.5388 |  |  | 47.9177 |  |  | 47.5388 |  |  | Puckett Solar | 2022 | 2.448 | 2.448 | S | ROS
2038 | 142.8001 |  |  | 52.2021 |  |  | 52.4032 |  |  | 52.2021 |  |  | Grissom Solar | 2022 | 2.448 | 2.448 | S | ROS
2039 | 142.8905 |  |  | 56.3955 |  |  | 56.4105 |  |  | 56.3955 |  |  | Regan Solar | 2022 | 2.448 | 2.448 | S | ROS
2040 | 142.9672 |  |  | 60.3 |  |  | 60.3 |  |  | 60.3 |  |  | Calverton Solar Energy Center | 2022 | 2.3014 | 2.3014 | S | K
2041 | 143.0556 |  |  | 60.3 |  |  | 60.3 |  |  | 60.3 |  |  | Eight Point Wind Energy Center | 2022 |  | 17.1431 | W | ROS
2042 | 143.1182 |  |  | 60.3 |  |  | 60.3 |  |  | 60.3 |  |  | Gowanus 1-1 through 1-7; 4-1 through 4-8 | 2023 | -255.9 |  |  | J
2043 | 143.1926 |  |  | 60.3 |  |  | 61.0772 |  |  | 60.3 |  |  | Eight Point Wind Energy Center | 2023 | 17.1431 |  | W | ROS
2044 | 143.2662 |  |  | 60.3 |  |  | 62.5222 |  |  | 60.3 |  |  | Bluestone Wind | 2023 | 18.8271 | 18.8271 | W | ROS
2045 | 143.327 |  |  | 60.3 |  |  | 63.911 |  |  | 60.3 |  |  | KCE NY 6 | 2023 | 15.782 | 15.782 | ES | ROS
[13 empty] | Number 3 Wind Energy | 2023 | 17.4968 | 17.4968 | W | ROS
[13 empty] | Albany County | 2023 | 2.448 | 2.448 | S | ROS
[13 empty] | Albany County II | 2023 | 2.448 | 2.448 | S | ROS
[13 empty] | Darby Solar | 2023 | 2.448 | 2.448 | S | ROS
[13 empty] | Ball Hill Wind | 2023 |  | 16.84 | W | ROS
[13 empty] | Pattersonville | 2023 |  | 2.448 | S | ROS
[13 empty] | ELP Stillwater Solar | 2023 |  | 2.448 | S | ROS
[13 empty] | 74 St. GT 1 & 2 | 2023 | -37.8 | -43.6 |  | J
[13 empty] | Astoria GT 2-1 through 2-4 | 2023 | -138 | -184.2 |  | J
[13 empty] | Astoria GT 3-1 through 3-4 | 2023 | -139.1 | -180.4 |  | J
[13 empty] | Astoria GT 4-1 through 4-4 | 2023 | -138.5 | -178.6 |  | J
[13 empty] | Ravenswood 10 | 2023 | -16.1 | -20.3 |  | J
[13 empty] | Ball Hill Wind | 2024 | 16.84 |  | W | ROS
[13 empty] | Pattersonville | 2024 | 2.448 |  | S | ROS
[13 empty] | ELP Stillwater Solar | 2024 | 2.448 |  | S | ROS
[13 empty] | South Fork Wind Farm | 2024 | 30.2976 | 30.7776 | W | K
[13 empty] | East Point Solar | 2024 | 7.82 | 6.815 | S | ROS
[13 empty] | High River Solar | 2024 | 14.076 | 12.267 | S | ROS
[13 empty] | Morris Ridge Solar Energy Center | 2024 | 0 | 24.1251 | S | ROS
[13 empty] | Baron Winds | 2024 | 0 | 14.3676 | W | ROS
[13 empty] | South Cairo | 2024 |  | -20.7 |  | ROS
[13 empty] | Sky High Solar | 2025 | 0 | 2.448 | S | ROS
[13 empty] | Greene County 1 | 2025 | 2.466 | 2.466 | S | GHI
[13 empty] | Greene County 2 | 2025 | 1.233 | 1.233 | S | GHI
[13 empty] | Highview Solar | 2025 | 2.448 | 2.448 | S | ROS
[13 empty] | Levy Grid | 2025 | 0 | 111.48 | ES2 | ROS
[13 empty] | Arthur Kill Energy Storage 1 | 2025 | 0 | 11.7795 | ES4 | J
[13 empty] | Valley Solar | 2025 | 2.448 | 2.448 | S | ROS
[13 empty] | Fairway Solar | 2025 | 2.448 | 2.448 | S | ROS
[13 empty] | NY 13 Solar | 2025 | 0 | 2.448 | S | ROS
[13 empty] | Flat Hill Solar | 2025 | 0 | 2.448 | S | ROS
[13 empty] | Grassy Knoll Solar | 2025 | 0 | 2.448 | S | ROS
[13 empty] | Hatchery Solar | 2025 | 2.448 | 2.448 | S | ROS
[13 empty] | Clear View Solar | 2025 | 0 | 2.448 | S | ROS
[13 empty] | Yellow Barn Solar | 2025 | 0 | 19.584 | S | ROS
[13 empty] | Morris Solar | 2025 | 0 | 0 | S | ROS
[13 empty] | Transit Solar | 2025 | 0 | 2.448 | S | ROS
[13 empty] | Astoria GT 01 | 2025 | -13.8 | -18 |  | J
[13 empty] | Shoreham 2 | 2025 | -16.7 | -21.3 |  | K
[13 empty] | Madison Windpower | 2025 | -11.6 | -11.6 |  | ROS
[13 empty] | Sky High Solar | 2026 | 2.448 | 0 | S | ROS
[13 empty] | NY 13 Solar | 2026 | 2.448 | 0 | S | ROS
[13 empty] | Homer Solar Energy Center | 2026 | 11.016 | 11.016 | S | ROS
[13 empty] | Bull Run II Wind | 2026 | 0 | 75.6116 | W | ROS
[13 empty] | Heritage Wind | 2026 | 0 | 33.6968 | W | ROS
[13 empty] | Hills Solar | 2026 | 0 | 2.448 | S | ROS
[13 empty] | Dog Corners Solar | 2026 | 2.448 | 2.448 | S | ROS
[13 empty] | Watkins Rd Solar | 2026 | 0 | 2.448 | S | ROS
[13 empty] | Scipio Solar | 2026 | 0 | 2.2032 | S | ROS
[13 empty] | Niagara Solar | 2026 | 0 | 2.448 | S | ROS
[13 empty] | Alle Catt II Wind | 2026 | 0 | 57.1044 | W | ROS
[13 empty] | Flint Mine Solar | 2026 | 12.33 | 12.33 | S | GHI
[13 empty] | High Bridge Wind | 2026 | 0 | 16.9747 | W | ROS
[13 empty] | Excelsior Energy Center | 2026 | 0 | 34.272 | S | ROS
[13 empty] | Ticonderoga Solar | 2026 | 0 | 2.448 | S | ROS
[13 empty] | Empire Wind 1 | 2026 | 0 | 292.0464 | W | J
[13 empty] | Sunrise Wind | 2026 | 314.952 | 314.952 | W | K
[13 empty] | Levy Grid | 2026 | 111.48 | 0 | ES2 | ROS
[13 empty] | KCE NY 10 | 2026 | 0 | 15.782 | ES4 | ROS
[13 empty] | Oxbow Hill Solar | 2026 | 0 | 17.136 | S | ROS
[13 empty] | Bayonne Energy Center III | 2026 | 0 | 39.1079 | ES4 | J
[13 empty] | Arthur Kill Energy Storage 1 | 2026 | 11.7795 | 0 | ES4 | J
[13 empty] | CS Hawthorn Solar | 2026 | 0 | 2.448 | S | ROS
[13 empty] | Dolan Solar | 2026 | 0 | 2.448 | S | ROS
[13 empty] | Highbanks Solar | 2026 | 2.448 | 2.448 | S | ROS
[13 empty] | NY38 Solar | 2026 | 0 | 14.688 | S | ROS
[13 empty] | Flat Hill Solar | 2026 | 2.448 | 0 | S | ROS
[13 empty] | Grassy Knoll Solar | 2026 | 2.448 | 0 | S | ROS
[13 empty] | Astoria BES to 27kV North Queens | 2026 | 0 | 0 | ES4 | J
[13 empty] | Astoria Energy Storage | 2026 | 78.53 | 78.53 | ES4 | J
[13 empty] | Holtsville 138kV Energy Storage | 2026 | 0 | 108.856 | ES8 | K
[13 empty] | Sunrise Wind II | 2026 | 15.7476 | 15.7476 | W | K
[13 empty] | SunEast Flat Stone Solar | 2026 | 0 | 2.448 | S | ROS
[13 empty] | Clear View Solar | 2026 | 2.448 | 0 | S | ROS
[13 empty] | Yellow Barn Solar | 2026 | 19.584 | 0 | S | ROS
[13 empty] | Morris Solar | 2026 | 0 | 0 | S | ROS
[13 empty] | Millers Grove Solar | 2026 | 0 | 2.448 | S | ROS
[13 empty] | Transit Solar | 2026 | 2.448 | 0 | S | ROS
[13 empty] | York Run Solar | 2026 | 0 | 11.016 | S | ROS
[13 empty] | Barrett Hempstead Battery Storage | 2026 | 21.072 | 21.072 | ES2 | K
[13 empty] | Holtsville Brookhaven Battery Storage | 2026 | 21.0193 | 21.0193 | ES2 | K
[13 empty] | Edwards Calverton Battery Storage | 2026 | 13.9602 | 13.9602 | ES2 | K
[13 empty] | ELP Granby Solar II | 2026 | 0 | 15.782 | ES4 | ROS
[13 empty] | Coxsackie GT | 2026 | -19.7 | -25.2 |  | GHI
[13 empty] | Mohawk Solar | 2027 | 0 | 11.0772 | S | ROS
[13 empty] | Canisteo Wind | 2027 | 0 | 48.9539 | W | ROS
[13 empty] | Bull Run II Wind | 2027 | 75.6116 | 0 | W | ROS
[13 empty] | NYC Energy | 2027 | 0 | 62.7455 | ES4 | J
[13 empty] | Riverhead Solar 2 | 2027 | 3.618 | 3.618 | S | K
[13 empty] | Rock District Solar | 2027 | 2.448 | 2.448 | S | ROS
[13 empty] | Tayandenega Solar | 2027 | 2.448 | 2.448 | S | ROS
[13 empty] | Heritage Wind | 2027 | 33.6968 | 0 | W | ROS
[13 empty] | Little Pond Solar | 2027 | 0 | 2.466 | S | GHI
[13 empty] | Hills Solar | 2027 | 2.448 | 0 | S | ROS
[13 empty] | Watkins Rd Solar | 2027 | 2.448 | 0 | S | ROS
[13 empty] | Scipio Solar | 2027 | 2.2032 | 0 | S | ROS
[13 empty] | Niagara Solar | 2027 | 2.448 | 0 | S | ROS
[13 empty] | Alle Catt II Wind | 2027 | 57.1044 | 0 | W | ROS
[13 empty] | Columbia County 1 | 2027 | 7.344 | 7.344 | S | ROS
[13 empty] | KCE NY 2 | 2027 | 0 | 157.2 | ES4 | GHI
[13 empty] | Bear Ridge Solar | 2027 | 12.24 | 12.24 | S | ROS
[13 empty] | High Bridge Wind | 2027 | 16.9747 | 0 | W | ROS
[13 empty] | Moraine Solar Energy Center | 2027 | 0 | 11.4444 | S | ROS
[13 empty] | Excelsior Energy Center | 2027 | 34.272 | 0 | S | ROS
[13 empty] | Ticonderoga Solar | 2027 | 2.448 | 0 | S | ROS
[13 empty] | Empire Wind 1 | 2027 | 292.0464 | 0 | W | J
[13 empty] | White Creek Solar | 2027 | 0 | 16.524 | S | ROS
[13 empty] | South Ripley Solar and BESS | 2027 | 0 | 213.057 | ES4 | ROS
[13 empty] | Prattsburgh Wind Farm | 2027 | 0 | 24.7548 | W | ROS
[13 empty] | KCE NY 10 | 2027 | 15.782 | 0 | ES4 | ROS
[13 empty] | Oxbow Hill Solar | 2027 | 17.136 | 0 | S | ROS
[13 empty] | Cider Solar | 2027 | 61.2 | 61.2 | S | ROS
[13 empty] | Bayonne Energy Center III | 2027 | 39.1079 | 0 | ES4 | J
[13 empty] | CS Hawthorn Solar | 2027 | 2.448 | 0 | S | ROS
[13 empty] | Dolan Solar | 2027 | 2.448 | 0 | S | ROS
[13 empty] | Luyster Creek Energy Storage 2 | 2027 | 62.0387 | 62.0387 | ES4 | J
[13 empty] | Luyster Creek Energy Storage 1 | 2027 | 44.2124 | 44.2124 | ES4 | J
[13 empty] | NY38 Solar | 2027 | 14.688 | 0 | S | ROS
[13 empty] | Riverside Solar | 2027 | 0 | 12.24 | S | ROS
[13 empty] | Hemlock Ridge Solar | 2027 | 24.48 | 24.48 | S | ROS
[13 empty] | Sugar Maple Solar | 2027 | 0 | 15.3 | S | ROS
[13 empty] | Holtsville 138kV Energy Storage | 2027 | 108.856 | 0 | ES8 | K
[13 empty] | KCE NY 5 | 2027 | 0 | 73.884 | ES4 | GHI
[13 empty] | East Setauket Energy Storage | 2027 | 53.9332 | 53.9332 | ES8 | K
[13 empty] | SunEast Flat Stone Solar | 2027 | 2.448 | 0 | S | ROS
[13 empty] | NYC Energy - Phase 2 | 2027 | 0 | 172.8445 | ES4 | J
[13 empty] | Millers Grove Solar | 2027 | 2.448 | 0 | S | ROS
[13 empty] | Somerset Solar | 2027 | 15.3 | 15.3 | S | ROS
[13 empty] | CLIES 20 MW | 2027 | 0 | 18.918 | ES6 | K
[13 empty] | CLIES 70 MW | 2027 | 0 | 28.7554 | ES6 | K
[13 empty] | KCE NY 29 | 2027 | 0 | 130.65 | ES4 | K
[13 empty] | Hoffman Falls Wind | 2027 | 0 | 12.1248 | W | ROS
[13 empty] | Agricola Wind | 2027 | 0 | 16.3348 | W | ROS
[13 empty] | York Run Solar | 2027 | 11.016 | 0 | S | ROS
[13 empty] | Fort Covington Solar | 2027 | 0 | 30.6 | S | ROS
[13 empty] | Two Rivers Solar | 2027 | 0 | 24.48 | S | ROS
[13 empty] | North Seneca Solar Project | 2027 | 0 | 12.852 | S | ROS
[13 empty] | ELP Granby Solar II | 2027 | 15.782 | 0 | ES4 | ROS
[13 empty] | NYC Energy | 2028 | 62.7455 | 0 | ES4 | J
[13 empty] | KCE NY 2 | 2028 | 157.2 | 0 | ES4 | GHI
[13 empty] | NYC Energy - Phase 2 | 2028 | 172.8445 | 0 | ES4 | J
[13 empty] | Mohawk Solar LLC | 2028 | 11.0772 | 0 | S | ROS
[13 empty] | Canisteo Wind | 2028 | 48.9539 | 0 | W | ROS
[13 empty] | Little Pond Solar | 2028 | 2.466 | 0 | S | GHI
[13 empty] | Watkins Glen Solar | 2028 | 6.12 | 6.12 | S | ROS
[13 empty] | North Side Solar | 2028 | 22.032 | 22.032 | S | ROS
[13 empty] | SunEast Skyline Solar | 2028 | 2.448 | 2.448 | S | ROS
[13 empty] | Horseshoe Solar | 2028 | 22.032 | 22.032 | S | ROS
[13 empty] | Moraine Solar Energy Center | 2028 | 11.4444 | 0 | S | ROS
[13 empty] | Trelina Solar Energy Center | 2028 | 9.792 | 9.792 | S | ROS
[13 empty] | Magruder Solar | 2028 | 2.466 | 2.466 | S | GHI
[13 empty] | Tracy Solar Energy Centre | 2028 | 0 | 14.5656 | S | ROS
[13 empty] | White Creek Solar | 2028 | 16.524 | 0 | S | ROS
[13 empty] | South Ripley Solar and BESS | 2028 | 213.057 | 0 | ES4 | ROS
[13 empty] | Rich Road Solar Energy Center (S+ES4) | 2028 | 189.384 | 189.384 | ES4 | ROS
[13 empty] | Prattsburgh Wind Farm | 2028 | 24.7548 | 0 | W | ROS
[13 empty] | Hilltop Solar | 2028 | 2.448 | 2.448 | S | ROS
[13 empty] | Brookside Solar | 2028 | 12.24 | 12.24 | S | ROS
[13 empty] | Riverside Solar | 2028 | 12.24 | 0 | S | ROS
[13 empty] | Garnet Energy Center | 2028 | 24.48 | 24.48 | S | ROS
[13 empty] | Harlem River Yard | 2028 | 62.7455 | 62.7455 | ES4 | J
[13 empty] | Sugar Maple Solar | 2028 | 15.3 | 0 | S | ROS
[13 empty] | KCE NY 5 | 2028 | 73.884 | 0 | ES4 | GHI
[13 empty] | Alabama Solar Park | 2028 | 0 | 15.912 | S | ROS
[13 empty] | Mill Point Solar | 2028 | 0 | 197.275 | ES4 | ROS
[13 empty] | Mineral Basin Solar Power | 2028 | 49.1558 | 49.1558 | S | ROS
[13 empty] | Flat Creek Solar | 2028 | 0 | 24.48 | S | ROS
[13 empty] | CLIES 20 MW | 2028 | 18.918 | 0 | ES6 | K
[13 empty] | Flat Creek Solar 2 | 2028 | 0 | 12.24 | S | ROS
[13 empty] | CLIES 70 MW | 2028 | 28.7554 | 0 | ES6 | K
[13 empty] | East Fishkill | 2028 | 0 | 161.13 | ES4 | GHI
[13 empty] | KCE NY 29 | 2028 | 130.65 | 0 | ES4 | K
[13 empty] | Hoffman Falls Wind | 2028 | 12.1248 | 0 | W | ROS
[13 empty] | Agricola Wind | 2028 | 16.3348 | 0 | W | ROS
[13 empty] | Fort Covington Solar | 2028 | 30.6 | 0 | S | ROS
[13 empty] | Two Rivers Solar | 2028 | 24.48 | 0 | S | ROS
[13 empty] | North Seneca Solar Project | 2028 | 12.852 | 0 | S | ROS
[13 empty] | Tracy Solar Energy Centre | 2029 | 14.5656 | 0 | S | ROS
[13 empty] | Alabama Solar Park | 2029 | 15.912 | 0 | S | ROS
[13 empty] | Mill Point Solar | 2029 | 197.275 | 0 | ES4 | ROS
[13 empty] | Flat Creek Solar | 2029 | 24.48 | 0 | S | ROS
[13 empty] | Flat Creek Solar 2 | 2029 | 12.24 | 0 | S | ROS
[13 empty] | East Fishkill | 2029 | 161.13 | 0 | ES4 | GHI
[13 empty] | Retirements per DEC Peaker Rule | 2023 | -37.7 | -46.7 |  | GHI
[13 empty] | Retirements per DEC Peaker Rule | 2023 | -129 | -176.9 |  | K
[13 empty] | Retirements per DEC Peaker Rule | 2024 | -52 | -65.9 |  | K
[13 empty] | Retirements per DEC Peaker Rule | 2025 | -12.4 | -16.1 |  | J
[13 empty] | Retirements per DEC Peaker Rule | 2025 | -100.1 | -117.3 |  | K
[13 empty] | Retirements per DEC Peaker Rule | 2030 |  | -411.6 |  | J
[13 empty] | Retirements per DEC Peaker Rule | 2030 |  | -46 |  | K
[13 empty] | Retirements per DEC Peaker Rule | 2031 | -409.2 |  |  | J
[13 empty] | Retirements per DEC Peaker Rule | 2031 | -45 |  |  | K
[13 empty] | Summer Mothballs per DEC Peaker Rule | 2026 | -570.7 |  |  | J
[13 empty] | DER (former BTM Gen) | 2022 | 68 | 68 |  | ROS
[13 empty] | DER (former BTM Gen) | 2023 | 23 | 23 |  | ROS
[13 empty] | DER (former BTM Gen) | 2024 | 23 | 23 |  | ROS
END OF TABLE
CAPACITY ACCREDITATION FACTORS
[13 empty] | Offshore Wind |  | 0.3579 | 0.3579 | W | J
[13 empty] | Offshore Wind |  | 0.3579 | 0.3579 | W | K
[13 empty] | Land-Based Wind |  | 0.1684 | 0.1684 | W | ROS
[13 empty] | Solar |  | 0.1224 | 0.1224 | S | ROS
[13 empty] | Solar |  | 0.1233 | 0.1233 | S | GHI
[13 empty] | Solar |  | 0.1203 | 0.1203 | S | J
[13 empty] | Solar |  | 0.1005 | 0.1005 | S | K
[13 empty] | Energy Storage (2hr) |  | 0.7432 | 0.7432 | ES2 | ROS
[13 empty] | Energy Storage (2hr) |  | 0.7397 | 0.7397 | ES2 | GHI
[13 empty] | Energy Storage (2hr) |  | 0.6494 | 0.6494 | ES2 | J
[13 empty] | Energy Storage (2hr) |  | 0.5268 | 0.5268 | ES2 | K
[13 empty] | Energy Storage (4hr) |  | 0.7891 | 0.7891 | ES4 | ROS
[13 empty] | Energy Storage (4hr) |  | 0.786 | 0.786 | ES4 | GHI
[13 empty] | Energy Storage (4hr) |  | 0.7853 | 0.7853 | ES4 | J
[13 empty] | Energy Storage (4hr) |  | 0.871 | 0.871 | ES4 | K
[13 empty] | Energy Storage (6hr) |  | 0.8724 | 0.8724 | ES6 | ROS
[13 empty] | Energy Storage (6hr) |  | 0.8716 | 0.8716 | ES6 | GHI
[13 empty] | Energy Storage (6hr) |  | 0.859 | 0.859 | ES6 | J
[13 empty] | Energy Storage (6hr) |  | 0.9459 | 0.9459 | ES6 | K
[13 empty] | Energy Storage (8hr) |  | 0.9677 | 0.9677 | ES8 | ROS
[13 empty] | Energy Storage (8hr) |  | 0.964 | 0.964 | ES8 | GHI
[13 empty] | Energy Storage (8hr) |  | 0.9612 | 0.9612 | ES8 | J
[13 empty] | Energy Storage (8hr) |  | 0.9896 | 0.9896 | ES8 | K
Forecast

## Additions
From Table IV-1
Unit | Year | ICAP (S) | ICAP (W) | Type | Zone
Sky High Solar | 2025 | 0 | 20 | S | ROS
Greene County 1 | 2025 | 20 | 20 | S | GHI
Greene County 2 | 2025 | 10 | 10 | S | GHI
Highview Solar | 2025 | 20 | 20 | S | ROS
Levy Grid | 2025 | 0 | 150 | ES2 | ROS
Arthur Kill Energy Storage 1 | 2025 | 0 | 15 | ES4 | J
Valley Solar | 2025 | 20 | 20 | S | ROS
Fairway Solar | 2025 | 20 | 20 | S | ROS
NY 13 Solar | 2025 | 0 | 20 | S | ROS
Flat Hill Solar | 2025 | 0 | 20 | S | ROS
Grassy Knoll Solar | 2025 | 0 | 20 | S | ROS
Hatchery Solar | 2025 | 20 | 20 | S | ROS
Clear View Solar | 2025 | 0 | 20 | S | ROS
Yellow Barn Solar | 2025 | 0 | 160 | S | ROS
Morris Solar | 2025 | 0 | 0 | S | ROS
Transit Solar | 2025 | 0 | 20 | S | ROS
2025 Total |  | 110 | 555
Sky High Solar | 2026 | 20 | 0 | S | ROS
NY 13 Solar | 2026 | 20 | 0 | S | ROS
Homer Solar Energy Center | 2026 | 90 | 90 | S | ROS
Bull Run II Wind | 2026 | 0 | 449 | W | ROS
Heritage Wind | 2026 | 0 | 200.1 | W | ROS
Hills Solar | 2026 | 0 | 20 | S | ROS
Dog Corners Solar | 2026 | 20 | 20 | S | ROS
Watkins Rd Solar | 2026 | 0 | 20 | S | ROS
Scipio Solar | 2026 | 0 | 18 | S | ROS
Niagara Solar | 2026 | 0 | 20 | S | ROS
Alle Catt II Wind | 2026 | 0 | 339.1 | W | ROS
Flint Mine Solar | 2026 | 100 | 100 | S | GHI
High Bridge Wind | 2026 | 0 | 100.8 | W | ROS
Excelsior Energy Center | 2026 | 0 | 280 | S | ROS
Ticonderoga Solar | 2026 | 0 | 20 | S | ROS
Empire Wind 1 | 2026 | 0 | 816 | W | J
Sunrise Wind | 2026 | 880 | 880 | W | K
Levy Grid | 2026 | 150 | 0 | ES2 | ROS
KCE NY 10 | 2026 | 0 | 20 | ES4 | ROS
Oxbow Hill Solar | 2026 | 0 | 140 | S | ROS
Bayonne Energy Center III | 2026 | 0 | 49.8 | ES4 | J
Arthur Kill Energy Storage 1 | 2026 | 15 | 0 | ES4 | J
CS Hawthorn Solar | 2026 | 0 | 20 | S | ROS
Dolan Solar | 2026 | 0 | 20 | S | ROS
Highbanks Solar | 2026 | 20 | 20 | S | ROS
NY38 Solar | 2026 | 0 | 120 | S | ROS
Flat Hill Solar | 2026 | 20 | 0 | S | ROS
Grassy Knoll Solar | 2026 | 20 | 0 | S | ROS
Astoria BES to 27kV North Queens | 2026 | 0 | 0 | ES4 | J
Astoria Energy Storage | 2026 | 100 | 100 | ES4 | J
Holtsville 138kV Energy Storage | 2026 | 0 | 110 | ES8 | K
Sunrise Wind II | 2026 | 44 | 44 | W | K
SunEast Flat Stone Solar | 2026 | 0 | 20 | S | ROS
Clear View Solar | 2026 | 20 | 0 | S | ROS
Yellow Barn Solar | 2026 | 160 | 0 | S | ROS
Morris Solar | 2026 | 0 | 0 | S | ROS
Millers Grove Solar | 2026 | 0 | 20 | S | ROS
Transit Solar | 2026 | 20 | 0 | S | ROS
York Run Solar | 2026 | 0 | 90 | S | ROS
Barrett Hempstead Battery Storage | 2026 | 40 | 40 | ES2 | K
Holtsville Brookhaven Battery Storage | 2026 | 39.9 | 39.9 | ES2 | K
Edwards Calverton Battery Storage | 2026 | 26.5 | 26.5 | ES2 | K
ELP Granby Solar II | 2026 | 0 | 20 | S | ROS
2026 Total |  | 1805.4 | 4273.2
Mohawk Solar | 2027 | 0 | 90.5 | S | ROS
Canisteo Wind | 2027 | 0 | 290.7 | W | ROS
Bull Run II Wind | 2027 | 449 | 0 | W | ROS
NYC Energy | 2027 | 0 | 79.9 | ES4 | J
Riverhead Solar 2 | 2027 | 36 | 36 | S | K
Rock District Solar | 2027 | 20 | 20 | S | ROS
Tayandenega Solar | 2027 | 20 | 20 | S | ROS
Heritage Wind | 2027 | 200.1 | 0 | W | ROS
Little Pond Solar | 2027 | 0 | 20 | S | GHI
Hills Solar | 2027 | 20 | 0 | S | ROS
Watkins Rd Solar | 2027 | 20 | 0 | S | ROS
Scipio Solar | 2027 | 18 | 0 | S | ROS
Niagara Solar | 2027 | 20 | 0 | S | ROS
Alle Catt II Wind | 2027 | 339.1 | 0 | W | ROS
Columbia County 1 | 2027 | 60 | 60 | S | ROS
KCE NY 2 | 2027 | 0 | 200 | ES4 | GHI
Bear Ridge Solar | 2027 | 100 | 100 | S | ROS
High Bridge Wind | 2027 | 100.8 | 0 | W | ROS
Moraine Solar Energy Center | 2027 | 0 | 93.5 | S | ROS
Excelsior Energy Center | 2027 | 280 | 0 | S | ROS
Ticonderoga Solar | 2027 | 20 | 0 | S | ROS
Empire Wind 1 | 2027 | 816 | 0 | W | J
White Creek Solar | 2027 | 0 | 135 | S | ROS
South Ripley Solar and BESS | 2027 | 0 | 270 | ES4 | ROS
Prattsburgh Wind Farm | 2027 | 0 | 147 | W | ROS
KCE NY 10 | 2027 | 20 | 0 | ES4 | ROS
Oxbow Hill Solar | 2027 | 140 | 0 | S | ROS
Cider Solar | 2027 | 500 | 500 | S | ROS
Bayonne Energy Center III | 2027 | 49.8 | 0 | ES4 | J
CS Hawthorn Solar | 2027 | 20 | 0 | S | ROS
Dolan Solar | 2027 | 20 | 0 | S | ROS
Luyster Creek Energy Storage 2 | 2027 | 79 | 79 | ES4 | J
Luyster Creek Energy Storage 1 | 2027 | 56.3 | 56.3 | ES4 | J
NY38 Solar | 2027 | 120 | 0 | S | ROS
Riverside Solar | 2027 | 0 | 100 | S | ROS
Hemlock Ridge Solar | 2027 | 200 | 200 | S | ROS
Sugar Maple Solar | 2027 | 0 | 125 | S | ROS
Holtsville 138kV Energy Storage | 2027 | 110 | 0 | ES8 | K
KCE NY 5 | 2027 | 0 | 94 | ES4 | GHI
East Setauket Energy Storage | 2027 | 54.5 | 54.5 | ES8 | K
SunEast Flat Stone Solar | 2027 | 20 | 0 | S | ROS
NYC Energy - Phase 2 | 2027 | 0 | 220.1 | ES4 | J
Millers Grove Solar | 2027 | 20 | 0 | S | ROS
Somerset Solar | 2027 | 125 | 125 | S | ROS
CLIES 20 MW | 2027 | 0 | 20 | ES6 | K
CLIES 70 MW | 2027 | 0 | 30.4 | ES6 | K
KCE NY 29 | 2027 | 0 | 150 | ES4 | K
Hoffman Falls Wind | 2027 | 0 | 72 | W | ROS
Agricola Wind | 2027 | 0 | 97 | W | ROS
York Run Solar | 2027 | 90 | 0 | S | ROS
Fort Covington Solar | 2027 | 0 | 250 | S | ROS
Two Rivers Solar | 2027 | 0 | 200 | S | ROS
North Seneca Solar Project | 2027 | 0 | 105 | S | ROS
ELP Granby Solar II | 2027 | 20 | 0 | S | ROS
2027 Total |  | 4163.6 | 4040.9
NYC Energy | 2028 | 79.9 | 0 | ES4 | J
KCE NY 2 | 2028 | 200 | 0 | ES4 | GHI
NYC Energy - Phase 2 | 2028 | 220.1 | 0 | ES4 | J
Mohawk Solar LLC | 2028 | 90.5 | 0 | S | ROS
Canisteo Wind | 2028 | 290.7 | 0 | W | ROS
Little Pond Solar | 2028 | 20 | 0 | S | GHI
Watkins Glen Solar | 2028 | 50 | 50 | S | ROS
North Side Solar | 2028 | 180 | 180 | S | ROS
SunEast Skyline Solar | 2028 | 20 | 20 | S | ROS
Horseshoe Solar | 2028 | 180 | 180 | S | ROS
Moraine Solar Energy Center | 2028 | 93.5 | 0 | S | ROS
Trelina Solar Energy Center | 2028 | 80 | 80 | S | ROS
Magruder Solar | 2028 | 20 | 20 | S | GHI
Tracy Solar Energy Centre | 2028 | 0 | 119 | S | ROS
White Creek Solar | 2028 | 135 | 0 | S | ROS
South Ripley Solar and BESS | 2028 | 270 | 0 | ES4 | ROS
Rich Road Solar Energy Center (S+ES4) | 2028 | 240 | 240 | ES4 | ROS
Prattsburgh Wind Farm | 2028 | 147 | 0 | W | ROS
Hilltop Solar | 2028 | 20 | 20 | S | ROS
Brookside Solar | 2028 | 100 | 100 | S | ROS
Riverside Solar | 2028 | 100 | 0 | S | ROS
Garnet Energy Center | 2028 | 200 | 200 | S | ROS
Harlem River Yard | 2028 | 79.9 | 79.9 | ES4 | J
Sugar Maple Solar | 2028 | 125 | 0 | S | ROS
KCE NY 5 | 2028 | 94 | 0 | ES4 | GHI
Alabama Solar Park | 2028 | 0 | 130 | S | ROS
Mill Point Solar | 2028 | 0 | 250 | ES4 | ROS
Mineral Basin Solar Power | 2028 | 401.6 | 401.6 | S | ROS
Flat Creek Solar | 2028 | 0 | 200 | S | ROS
CLIES 20 MW | 2028 | 20 | 0 | ES6 | K
Flat Creek Solar 2 | 2028 | 0 | 100 | S | ROS
CLIES 70 MW | 2028 | 30.4 | 0 | ES6 | K
East Fishkill | 2028 | 0 | 205 | ES4 | GHI
KCE NY 29 | 2028 | 150 | 0 | ES4 | K
Hoffman Falls Wind | 2028 | 72 | 0 | W | ROS
Agricola Wind | 2028 | 97 | 0 | W | ROS
Fort Covington Solar | 2028 | 250 | 0 | S | ROS
Two Rivers Solar | 2028 | 200 | 0 | S | ROS
North Seneca Solar Project | 2028 | 105 | 0 | S | ROS
2028 Total |  | 4361.6 | 2575.5
Tracy Solar Energy Centre | 2029 | 119 | 0 | S | ROS
Alabama Solar Park | 2029 | 130 | 0 | S | ROS
Mill Point Solar | 2029 | 250 | 0 | ES4 | ROS
Flat Creek Solar | 2029 | 200 | 0 | S | ROS
Flat Creek Solar 2 | 2029 | 100 | 0 | S | ROS
East Fishkill | 2029 | 205 | 0 | ES4 | GHI
2029 Total |  | 1004 | 0

## Deactivations
Compare Tables IV-4 & IV-5 with III-2
Unit | Year | ICAP (S) | ICAP (W) | Zone
Astoria GT 01 | 2025 | -13.8 | -18 | J
Shoreham 2 | 2025 | -16.7 | -21.3 | K
Madison Windpower | 2025 | -11.6 | -11.6 | ROS
2025 Total |  | -42.1 | -50.9
Coxsackie GT | 2026 | -19.7 | -25.2 | GHI
2026 Total |  | -19.7 | -25.2

## DEC Peaker Rule
Table IV-6
Unit | Year | ICAP (S) | ICAP (W) | Zone
Shoreham 1 | 2025 | -46 | -50.7 | K
Glenwood GT 03 | 2025 | -54.1 | -66.6 | K
Arthur Kill GT 1 | 2025 | -12.4 | -16.1 | J
2025 Total |  | -112.5 | -133.4
Gowanus 2-1 through 2-8 | 2026 | -142.2 |  | J
Gowanus 3-1 through 3-8 | 2026 | -140.2 |  | J
Narrows 1-1 through 2-8 | 2026 | -288.3 |  | J
2026 Total |  | -570.7
Gowanus 5 | 2030 |  | -40 | J
Gowanus 6 | 2030 |  | -39.9 | J
Kent | 2030 |  | -46 | J
Pouch | 2030 |  | -46 | J
Hellgate 1 | 2030 |  | -39.9 | J
Hellgate 2 | 2030 |  | -40 | J
Harlem River 1 | 2030 |  | -39.9 | J
Harlem River 2 | 2030 |  | -40 | J
Vernon Blvd 2 | 2030 |  | -40 | J
Vernon Blvd 3 | 2030 |  | -39.9 | J
Brentwood | 2030 |  | -46 | K
2030 Total |  |  | -457.6
Gowanus 5 | 2031 | -40 |  | J
Gowanus 6 | 2031 | -39.9 |  | J
Kent | 2031 | -45.7 |  | J
Pouch | 2031 | -44.7 |  | J
Hellgate 1 | 2031 | -39.9 |  | J
Hellgate 2 | 2031 | -39.6 |  | J
Harlem River 1 | 2031 | -39.9 |  | J
Harlem River 2 | 2031 | -39.6 |  | J
Vernon Blvd 2 | 2031 | -40 |  | J
Vernon Blvd 3 | 2031 | -39.9 |  | J
Brentwood | 2031 | -45 |  | K
2030 Total |  | -454.2

## DC Model
ICAP Demand Curve Model*
|  | NYC (J) |  |  | G-J(LHV) |  |  | LI (K) |  |  | NYCA
|  | Average | Summer | Winter | Average | Summer | Winter | Average | Summer | Winter | Average | Summer | Winter
IRM/LCR % |  | 78.5% |  |  | 78.8% |  |  | 106.5% |  |  | 124.4%
DC Length % |  | 18% |  |  | 15% |  |  | 18% |  |  | 12%
2045 | Input Year (2025-2045)**
Ref Price (S/W & average) |  | 16.005 | 17.37 | 14.64 | 5.72 | 6.15 | 5.29 | 7.79 | 6.8 | 8.78 | 5.025 | 5.72 | 4.33
Peak Load |  | 12170 |  |  | 17258 |  |  | 5986 |  |  | 37400
ICAP LCR |  | 9553.45 |  |  | 13599.304 |  |  | 6375.09 |  |  | 46525.6
DC Length MW |  | 1719.621 |  |  | 2039.8956 |  |  | 1147.5162 |  |  | 5583.072
Slope |  | -0.010101 |  |  | -0.0030149 |  |  | -0.0059258 |  |  | -0.0010245
Total Supply |  |  | 9003.3504 | 10029.8504 |  | 14244.9254 | 15469.3254 |  | 6455.7817 | 6866.6817 |  | 45108.5212 | 45319.3212
Excess Supply |  |  | -550.0996 | 476.4004 |  | 645.6214 | 1870.0214 |  | 80.6917 | 491.5917 |  | -1417.0788 | -1206.2788
Regional Reliability Additions*** |  |  | 550.0996 | 597.9583 |  | 0 | 0 |  | 0 | 0 |  | 866.9792 | 907.7272
Augmented Supply |  |  | 9553.45 | 10627.8087 |  | 14795.025 | 16067.2837 |  | 6455.7817 | 6866.6817 |  | 46525.6 | 46825.0067
Augmented Excess |  |  | 0 | 1074.3587 |  | 1195.721 | 2467.9797 |  | 80.6917 | 491.5917 |  | 0 | 299.4067
DC Price |  | 11.9439 | 17.37 | 6.5178 | 0.62723 | 2.5451 | -1.2906 | 5.1044 | 6.3218 | 3.8869 | 5.5666 | 5.72 | 5.4133
Cap DC Price at net CONE |  | 11.9439 | 17.37 | 6.5178 | 0.62723 | 2.5451 | -1.2906 | 5.1044 | 6.3218 | 3.8869 | 5.025 | 5.72 | 4.33
ICAP Price Forecast |  | 11.9439 | 17.37 | 6.5178 | 5.025 | 5.72 | 4.33 | 5.3259 | 6.3218 | 4.33 | 5.025 | 5.72 | 4.33
[6 empty] | 5241.575 | 5439.475 |  |  |  |  | 24407.8141 | 22983.3141
*Based on 2025 Gold Book
**Input any year (2025-2045)
***G-J regional supplies are Lower Hudson Valley only (GHI supply); NYCA regional supplies are ROS only.

## Demand
Summer Peak Demand (Load) Forecast*
Load | A | B | C | D | E | F | G | H | I | J | K | NYCA | J NC Peak | K NC Peak | G-J NC Peak | ROS (A-F)
2025 | 2864 | 1855 | 2516 | 691 | 1310 | 2269 | 2264 | 619 | 1316 | 10764 | 5003 | 31471 | 11005 | 5079 | 15206 | 11505
2026 | 2943 | 1854 | 2568 | 1042 | 1298 | 2255 | 2304 | 620 | 1320 | 10790 | 4996 | 31990 | 11030 | 5072 | 15280 | 11960
2027 | 2936 | 1846 | 2639 | 1171 | 1293 | 2275 | 2331 | 625 | 1327 | 10820 | 5017 | 32280 | 11060 | 5094 | 15349 | 12160
2028 | 2925 | 1834 | 2737 | 1173 | 1293 | 2265 | 2344 | 625 | 1336 | 10840 | 5038 | 32410 | 11080 | 5115 | 15392 | 12227
2029 | 2920 | 1826 | 2876 | 1179 | 1296 | 2264 | 2346 | 627 | 1343 | 10860 | 5083 | 32620 | 11100 | 5161 | 15423 | 12361
2030 | 2917 | 1821 | 3062 | 1180 | 1307 | 2267 | 2347 | 627 | 1351 | 10880 | 5151 | 32910 | 11120 | 5230 | 15452 | 12554
2031 | 2924 | 1822 | 3176 | 1182 | 1307 | 2277 | 2361 | 630 | 1359 | 10930 | 5222 | 33190 | 11170 | 5302 | 15528 | 12688
2032 | 2932 | 1826 | 3291 | 1185 | 1314 | 2290 | 2388 | 635 | 1368 | 11010 | 5281 | 33520 | 11260 | 5362 | 15651 | 12838
2033 | 2947 | 1832 | 3415 | 1189 | 1326 | 2302 | 2418 | 640 | 1377 | 11080 | 5344 | 33870 | 11330 | 5426 | 15767 | 13011
2034 | 2961 | 1839 | 3465 | 1192 | 1343 | 2322 | 2451 | 646 | 1385 | 11170 | 5396 | 34170 | 11420 | 5479 | 15908 | 13122
2035 | 2986 | 1851 | 3505 | 1194 | 1363 | 2348 | 2486 | 651 | 1401 | 11250 | 5465 | 34500 | 11500 | 5549 | 16046 | 13247
2036 | 3017 | 1865 | 3548 | 1198 | 1383 | 2380 | 2525 | 654 | 1416 | 11340 | 5524 | 34850 | 11590 | 5609 | 16195 | 13391
2037 | 3053 | 1883 | 3580 | 1202 | 1402 | 2417 | 2566 | 658 | 1430 | 11410 | 5579 | 35180 | 11670 | 5664 | 16326 | 13537
2038 | 3091 | 1905 | 3600 | 1206 | 1420 | 2454 | 2607 | 664 | 1444 | 11490 | 5629 | 35510 | 11750 | 5715 | 16469 | 13676
2039 | 3129 | 1924 | 3616 | 1210 | 1439 | 2495 | 2640 | 668 | 1455 | 11560 | 5674 | 35810 | 11820 | 5761 | 16589 | 13813
2040 | 3161 | 1939 | 3640 | 1212 | 1456 | 2538 | 2682 | 674 | 1466 | 11620 | 5712 | 36100 | 11880 | 5799 | 16710 | 13946
2041 | 3195 | 1959 | 3661 | 1216 | 1478 | 2577 | 2722 | 677 | 1476 | 11690 | 5749 | 36400 | 11950 | 5837 | 16835 | 14086
2042 | 3225 | 1974 | 3672 | 1218 | 1500 | 2612 | 2758 | 679 | 1485 | 11740 | 5787 | 36650 | 12000 | 5876 | 16933 | 14201
2043 | 3254 | 1985 | 3692 | 1222 | 1525 | 2648 | 2794 | 681 | 1495 | 11800 | 5824 | 36920 | 12060 | 5913 | 17043 | 14326
2044 | 3276 | 1992 | 3711 | 1224 | 1547 | 2681 | 2841 | 684 | 1504 | 11850 | 5860 | 37170 | 12120 | 5950 | 17154 | 14431
2045 | 3298 | 1998 | 3729 | 1226 | 1566 | 2706 | 2882 | 686 | 1513 | 11900 | 5896 | 37400 | 12170 | 5986 | 17258 | 14523
*From 2025 Gold Book Tables I-3a,I-4a, and I-5
Note: Beginning in 2039, NYCA winter peak forecast (not shown here) exceeds summer peak forecast

## Supply
Supply Forecast*
| Summer | [7 empty] | Winter | [6 empty] | Exports from
Year | ROS (A-F) | GHI | J | K | G-J*** | Imports | NYCA** |  | ROS (A-F) | GHI | J | K | G-J*** | Imports | NYCA** | GHI to ISONE
2025 Gold Book | 19928 | 4848.1 | 9183.4 | 5886.1 | 14031.5 | 1768.7 | 40954.3 |  | 20636.3 | 5051.5 | 9649.5 | 6319.8 | 14701 | 1260.8 | 42257.9
2025 | 19926.192 | 4851.799 | 9157.2 | 5769.3 | 14008.999 | 1768.7 | 40813.191 |  | 20780.244 | 5055.199 | 9627.1795 | 6181.2 | 14682.3785 | 1260.8 | 42244.6225
2026 | 20087.856 | 4844.429 | 8676.8095 | 6156.0511 | 13521.2385 | 3405 | 42510.1456 |  | 21110.0068 | 5042.329 | 10036.8638 | 6676.8071 | 15079.1928 | 1272.2 | 43478.2068
2027 | 20527.1668 | 4844.429 | 9114.2149 | 6322.4583 | 13958.6439 | 3485.7 | 43633.969 |  | 21685.2097 | 5275.879 | 10378.7049 | 6912.6817 | 15654.5839 | 1352.9 | 44945.3753
2028 | 21317.0415 | 5080.445 | 9412.5504 | 6500.7817 | 14492.9954 | 3486.3 | 45137.1186 |  | 22289.8141 | 5439.475 | 10441.4504 | 6912.6817 | 15880.9254 | 1353.5 | 45776.9212
2029 | 21581.5141 | 5241.575 | 9412.5504 | 6500.7817 | 14654.1254 | 3486.3 | 45562.7212 |  | 22289.8141 | 5439.475 | 10441.4504 | 6912.6817 | 15880.9254 | 1353.5 | 45776.9212
2030 | 21581.5141 | 5241.575 | 9412.5504 | 6500.7817 | 14654.1254 | 3486.3 | 45562.7212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2031 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2032 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2033 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2034 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2035 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2036 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2037 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2038 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2039 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2040 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2041 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2042 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2043 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2044 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
2045 | 21581.5141 | 5241.575 | 9003.3504 | 6455.7817 | 14244.9254 | 3486.3 | 45108.5212 |  | 22289.8141 | 5439.475 | 10029.8504 | 6866.6817 | 15469.3254 | 1353.5 | 45319.3212
*Generation, SCRs and UDRs from Tab "ICAP 2025"; Net Imports from Table V-1
**NYCA total includes Net Imports (from Table V-1) - UDR imports (already counted as Generation Supply).
***G-J to ISONE Locality Exchange Factor (fraction coming from ROS): | [6 empty] | 0.421
GHI export to ISONE Impact: |  |  | 0.579
Annual Capacity Changes by Region
| Summer | [6 empty] | Winter
Year | ROS | GHI | J | K | NCZ (G-J) | NYCA |  | ROS (A-F) | GHI | J | K | NCZ (G-J) | NYCA
2025 | -1.808 | 3.699 | -26.2 | -116.8 | -22.501 | -141.109 |  | 143.944 | 3.699 | -22.3205 | -138.6 | -18.6215 | -13.2775
2026 | 161.664 | -7.37 | -480.3905 | 386.7511 | -487.7605 | 60.6546 |  | 329.7628 | -12.87 | 409.6843 | 495.6071 | 396.8143 | 1222.1843
2027 | 439.3108 | 0 | 437.4054 | 166.4072 | 437.4054 | 1043.1234 |  | 575.2029 | 233.55 | 341.8411 | 235.8746 | 575.3911 | 1386.4685
2028 | 789.8747 | 236.016 | 298.3355 | 178.3234 | 534.3515 | 1502.5496 |  | 604.6044 | 163.596 | 62.7455 | 0 | 226.3415 | 830.9459
2029 | 264.4726 | 161.13 | 0 | 0 | 161.13 | 425.6026 |  | 0 | 0 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | -411.6 | -46 | -411.6 | -457.6
2031 | 0 | 0 | -409.2 | -45 | -409.2 | -454.2 |  | 0 | 0 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2040 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2041 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2042 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0

## ICAP 2025
ICAP Zonal Supply by Capability Period, from 2025 Gold Book Table III-3
Zone | A | B | C | D | E | F | G | H | I | J | K | NYCA | G-J | ROS
Summer | 3492.4 | 780.5 | 6781.1 | 1918.5 | 1293.1 | 4775.6 | 4704 | 53.5 | 0 | 8704.7 | 5195.5 | 37698.9 | 13462.2 | 19041.2 | Gen from Table III-3a
| 411.7 | 27.9 | 82.6 | 226.9 | 34.2 | 103.5 | 40.7 | 11.3 | 38.6 | 478.7 | 30.6 | 1486.7 | 569.3 | 886.8 | SCRs from Table I-17
| K: 660 | 660 | 0 | 0 | UDRs*
| 3904.1 | 808.4 | 6863.7 | 2145.4 | 1327.3 | 4879.1 | 4744.7 | 64.8 | 38.6 | 9183.4 | 5886.1 | 39845.6 | 14031.5 | 19928 | NYCA Supply (exc. ROS imports)
Winter | 3550.8 | 784.4 | 7062.6 | 1918.1 | 1328 | 5308.8 | 4947.3 | 53.3 | 0 | 9371 | 5646.7 | 39971 | 14371.6 | 19952.7 | Gen from Table III-3b
| 288.8 | 25 | 65.4 | 218.2 | 34.3 | 51.9 | 21.9 | 7.5 | 21.5 | 278.5 | 13.1 | 1026.1 | 329.4 | 683.6 | SCRs from Table I-17
| J: 0; K: 660 | 660 | 0 | 0 | UDRs*
| 3839.6 | 809.4 | 7128 | 2136.3 | 1362.3 | 5360.7 | 4969.2 | 60.8 | 21.5 | 9649.5 | 6319.8 | 41657.1 | 14701 | 20636.3 | NYCA Supply (exc. ROS imports)
*Assumes UDRs (import delivery rights) for full capacity of Neptune controllable line from PJM and Cross Sound Cable from ISO-NE